George Pitcher Memorial Ground

Fire Safety Policy

Version control:

| Version ID | Description of Change | Version Sponsor | Policy Owner | Version creation date | Version Approval Date | Next Review Date |
| --- | --- | --- | --- | --- | --- | --- |
| 1.0 | Policy creation | Parish Clerk | Parish Clerk and Learn To Dance | 25/07/2025 | 30/09/2025 | May 2027 |
| 1.1 | Update to add matrix of responsibilities following Fire Risk Assessment | Parish Clerk | Full Council and Learn To Dance | 10/04/2026 | 22/06/2026 | May 2027 |

Fire Safety Policy/Procedures

Contents:

Fire Safety Policy

- General Statement

- Employees Duties

- Fire Safety Systems

- Communication

- Procedures

- Emergency Evacuation Plan

- Assisted Evacuation Plan

Assembly point: outside the GMG Pavillion.

Responsible person

Adam Killeya, Parish Clerk (for all Parish sites)

Tim Garrett, Head Groundsman (Deputy RP for GPMG)

Antony Holeksa (Responsible Person for Learn To Dance)

Fire Marshals:

Workshops and café container: Monday to Friday

Senior Fire Marshal: Tim Garrett, Head Groundsman.

Reserves/Fire Marshals: Barry Fitzgerald and Tom Shakespeare, Groundsmen.

Pavillion: Monday to Friday and Sunday

Senior Fire Marshal (pavilion): Antony Holeksa, Learn To Dance

Reserves/Fire Marshals: Denise Bainton and Corrine Curtis

Café container Saturday and Sunday; and Pavillion Saturday

Fire Marshal: Amanda Soye, Pitchside Café Supervisor

As of July 2025, the following staff are trained as Fire Marshals:

Head Groundsmen: Tim Garrett

2 x Groundsmen: Barry Fitzgerald and Tom Shakespeare

3 x Learn To Dance staff: Antony Holeksa, Denise Bainton and Corrine Curtis

A number of other Parish Council staff not based on site are trained as fire marshals, and may assist if present.

- General Statement

In recognition of the joint responsibility for the site – Learn To Dance as the tenant of the pavilion, and the Parish Council as the owner of the whole site, and operator of the workshops and pitchside café – this is a joint policy agreed by the two organisations.

Whilst the Council is the landlord of the tied cottage on site, this is a private residence and therefore not covered by this policy.

We are responsible employers and take our fire and safety duties seriously. We have formulated this policy to help us comply with our legal obligations to staff, hirers, visitors and members of the public under the Fire Safety Order (2005). These include the provision of a safe place of work where fire safety risks are minimized. Our priority at all times is the safety of individuals.

It is the policy of the organisations to protect all persons including employees, customers, contractors and members of the public from potential injury and damage to their health which might arise from work activities.

The organisations will provide and maintain safe and healthy working conditions, equipment and systems of work for all employees, and provide such information, training and supervision as they need for this purpose.

The organisations are committed to Health and Safety and will comply with all statutory regulations.

- Respective responsibilities of the parties

|  | Responsible parties | Responsible persons |
| --- | --- | --- |
| Commissioning fire alarm servicing | BPC | ADK |
| Commissioning emergency lighting servicing/testing | BPC | ADK |
| Commissioning annual fire risk assessment | BPC | ADK |
| Reviewing annual risk assessment and carrying out actions | BPC and LTD jointly | ADK and AH |
| Regularly testing fire alarms | BPC | TG |
| Conducting regular fire drills | BPC and LTD jointly | TG and AH |
| Updating fire log book at GPMG | BPC | TG |
| Providing fire marshals and ensuring they are trained | BPC and LTD for their respective fire marshals | ADK and AH |
| Building evacuation in event of fire | BPC and LTD, as detailed under ‘fire marshals’ | Fire Marshals as detailed above |
| Preparing Personal Emergency Evacuation Plans (PEEP) | BPC or LTD for their respective employees/customers/visitors. | ADK and AH |
| Ensuring employees are appropriately briefed / trained on fire safety | BPC and LTD for their respective fire marshals | ADK and AH |
| Checking that fire extinguishers are kept in place and in good condition | BPC and LTD jointly | TG and AH |
| Ensuring visitors or customers are aware of fire safety procedures | BPC or LTD for their respective employees/customers/visitors. | TG and AH |

- Employee Duties

All employees have a duty to take reasonable steps to ensure that they do not place themselves or others at risk or harm. They are expected to co-operate fully with any procedures that may be introduced as a measure to protect the safety and well-being of staff, hirers, visitors and members of the public.

Employees also have responsibility for ensuring that visitors or contractors who are visiting them, are aware of fire safety procedures, and likewise for members of the public using the GPMG.

- Fire Safety Systems

Fire Warning System: Combination of audible sound alarms and sound alarms with LED indicators. Automatic fire detectors, break glass system to BS5839.

Emergency Lighting

- Communication

All employees will be kept informed either directly or via their line manager of any relevant changes to fire safety procedures or fire risk assessments.

- Procedures

The following procedures are in place to ensure high standards of fire safety.

Fire risk assessments are undertaken annually by an external appropriately qualified person, and are reviewed regularly with joint discussions between the organisations.  However, other reviews will occur if there are changes that will impact on them.  These may include alterations to the premises or new work processes.  The actions arising from fire risk assessments are the responsibility of the Parish Clerk, Learn To Dance owner, and Head Groundsman reporting to the Parish Clerk.

The fire evacuation procedure will be practiced every six months, and a record will be kept of the date and time taken to evacuate the building in the fire log-book.

It is noted that the users of the site vary significantly depending on the time of day and week; and the procedures below will therefore adapt appropriately to the circumstances.

Appropriate training will be provided to any staff given fire safety responsibilities such as Fire Marshals.

All new members of staff including temporary employees will be given induction training on how to raise the alarm and the available escape routes.

All escape routes shall be clearly signed and kept free from obstruction at all times.  Escape routes shall be checked regularly by the Head Groundsman and Learn To Dance owner, or another person appointed by one of the Responsible Persons.

All fire extinguishers will be serviced and maintained annually by a suitable contractor.  If any employee notices defective or missing equipment they must report it to Head Groundsman, or to one of the Responsible Persons.

Alarms are checked annually by a suitable contractor, and are tested weekly.

Emergency lighting is checked annually by a suitable contractor.

- Emergency Evacuation Plan

NB: To try and account for occasions where members of staff designated with various functions within this Emergency Evacuation Plan are absent, deputies have been allocated to all functions.  However, in the event that none of the designated staff are available for a particular function, the Senior Fire Marshal present shall temporarily allocate the function to an alternative suitable person. If the Senior Fire Marshal is not present, the senior member of staff present shall assume those duties.

- If you discover a fire:

Raise the alarm immediately.  This can be done by activating the nearest Fire Alarm Call Point.  Fire Alarm Call Points are located in various locations around the building and can be activated by pressing hard against the glass with your thumb.

Evacuate immediately using the nearest available fire exit.  Do not stop to pick up personal possessions.  Do not stop to shut windows, but the last one out of a room should ensure the door is shut.

Hirers, including teams using the football pitches, have responsibility for ensuring that persons attending their events are aware of fire safety procedures. They should also take reasonable steps to support the evacuation of persons attending their events. If the hirer is not on site, they should have appointed somebody at the event to take this responsibility.

Inform the Senior Fire Marshal as to the location of the fire.

Report to the assembly point for a roll call - outside the pavilion.

- If you hear the fire alarm:

Leave the building immediately using the nearest fire exit.  Staff need to ensure that any customers in their presence get out of the building safely; whilst hires should also take reasonable steps to support the evacuation of persons attending their events.

Report to the assembly point for a roll call.

If you are with a visitor, ensure they accompany you.

- Persons responsible for taking roll calls are:

The Senior Fire Marshal, and other staff as directed by them

GPMG users, including teams, for their own events or matches.

Any discrepancies should be reported to the Senior Fire Marshal.

- Fire Marshals  -  On hearing or setting off the alarm

Encourage everyone around you to evacuate as soon as possible. Should anyone not wish to evacuate, ask them twice, and then proceed and inform the Senior Fire Marshal who will inform the fire service.

Check all rooms and toilets are empty, closing any open doors along the way.

Procedures are in place regarding which rooms the fire marshals will check.

On Saturdays, where the Pitchside Café staff are the only staff on site, the Pitchside Café Supervisor shall take reasonable steps to support evacuation, including reminding visitors of the muster point, and if practical and safe doing a check of the pavilion. However she is not expected to perform the role of Senior Fire Marshal.

- Senior Fire Marshals

In additional to checking any areas that they are responsible for, the Senior Fire Marshals must:

  - Appoint suitable persons to cover any areas where there is otherwise no Fire Marshal, provided it is safe to do so.

  - Take the grab bags as appropriate from

    - the Learn To Dance office, or

    - the workshop.

  - Proceed as quickly as safely possible to the assembly point.

  - Liaise with the fire marshals, hirers, and fire service.

- Fire Alarm Status

Unless there is clear and compelling evidence that the fire alarm is not a genuine fire, it shall be treated as a genuine fire.

The person discovering the fire should call the fire service. If they are not able to the Senior Fire Marshal shall designate a different person.

There are signs in the workshop and the Learn To Dance office, listing the full address, postcode and ‘What three words’ location of the site.

In the event that the fire alarm is a false alarm, then the Senior Fire Marshal should establish the cause before letting anyone re-enter the building.

- Before the Fire Service arrives:

Staff members are not expected to make use of the fire extinguishers. However they may be used if the following conditions are all met:

- They have been trained in the use of the fire extinguisher

- They feel safe and comfortable in using the fire extinguisher

- The fire is appropriate for the use of the fire extinguisher (in general this would be a small bin fire or equivalent)

- Lone worker evacuation procedures

When a member of staff is working alone their main priority upon discovering a fire is to sound the alarms and ensure the Fire Service have been called.  The lone worker may check that areas of the building in their immediate vicinity have been evacuated but should not put themselves in any danger doing so.  They should proceed to the assembly point and liaise with hirers to establish whether anyone may still be in the building, this information should be relayed to the Fire Brigade when they arrive on site.

- Grab bag

Fire ‘grab bags’ will be kept in the Learn To Dance office and workshop, and taken by the Senior Fire Marshal. They will include:

- A Fire Marshal hi vis vest, for the Senior Fire Marshal to use.

- Location details, including what 3 words

- Access codes to any relevant rooms.

- Contact numbers for the Parish Clerk and Learn To Dance owners (responsible person) and Head Groundsman

- A marker pen, writing pen, and notepad.

- Building and master keys.

- Building plans.

- A copy of this policy

- Copies of any Personal Evacuation Plans

- A list of the locations of fire alarm points, and fire extinguishers.

- Location and shutdown information for electricity.

- Assisted Evacuation (General Emergency Evacuation Plan/Personal Emergency Evacuation Plan)

Any visitor, hirer or member of the public who cannot leave the building unaided in the event of an emergency will need to be evacuated in line with the Emergency Evacuation Plan outlined above. As there is no first floor to any of the public buildings, there are no additional risks from stairs or lifts.

In addition to those requiring physical assistance, which may include anyone with a physical disability such as a wheelchair user but it could also include someone with a recent foot injury who is on crutches, someone with a visual impairment, hearing difficulties or someone who is heavily pregnant, additional assistance may also be required for those with other needs such as learning difficulties, anxiety or neurodivergence.

Any member of staff who cannot leave the building unaided in the event of an emergency will need to have a Personal Emergency Evacuation Plan (PEEP) for their evacuation.  This applies both to permanent needs and to temporary needs. This is to be drawn up in consultation with the member of staff and the fire marshal assigned to assist with their evacuation.  A copy of the PEEP will be kept in the fire safety folder at reception.

Where a regular hall user has a known additional relevant need it may also be appropriate to draw up a Personal Emergency Evacuation Plan (PEEP) in consultation with them.